These insights are based on my power bi dashboard visualizations

General Performance Metrics

- The average power output is low (2.79 MW): This suggests that turbines are operating below their optimal power generation capacity, which could indicate inefficiencies or operational constraints.

- Rotor speed averages at 187.73 RPM: This is within the expected range but might warrant closer observation if it drops significantly during failure periods.

- Wind speed averages at 16.64 m/s: Favourable wind conditions support steady turbine operation. However, deviations during failures should be investigated.

- Failures are frequent (3600 recorded events): This highlights a significant issue that requires preventive strategies, given the large number of failures.

Failure Distribution

- Failures are evenly distributed across quarters: The pie chart shows no seasonal trend, indicating that failures are not driven by specific seasonal factors but might be due to consistent operational stresses.

- Rotor speed during failures is lower than in normal conditions: The bar chart indicates a correlation between reduced rotor speed and failure events, suggesting performance degradation before failures.

Temperature Insights

- Gear oil temperature shows notable fluctuations over time: Spikes in gear oil temperature, particularly in late 2021, could be linked to mechanical stress or lubrication issues.

- Nacelle temperature remains high during failure periods: This suggests cooling inefficiencies or environmental factors affecting turbine performance.

- Ambient temperature is slightly higher for turbines with failures: A trend is observed where higher ambient temperatures correlate with failure events, indicating the need for thermal management strategies.

Environmental and Operational Trends

- Wind speed is lower for failed turbines: Turbines with failures tend to experience slightly reduced wind speeds, possibly due to inefficiencies or external factors affecting performance.

- Ambient temperature and wind speed trends diverge during failure events: Failures often occur when ambient temperatures are high and wind speeds are low, pointing to a challenging operating environment.

- Quarter 4 shows reduced rotor speed for failed turbines: Performance drops are evident towards the end of the year, potentially highlighting wear and tear or operational challenges during this period.

- Key metrics to monitor: Spikes in gear oil temperature, reduced rotor speed, and high nacelle temperatures are early warning signs of potential failures.

- Failures occur consistently across months: Maintenance schedules should not prioritize specific months or seasons but instead ensure year-round monitoring.

- Operational inefficiencies may increase downtime: Trends in lower rotor speed and power output for failed turbines suggest opportunities for improving performance through predictive maintenance and early intervention.